## Slide 1: Zoned Temperature Control & Automation
SEIS 744 IoT Final Project
Troy Erickson

## Slide 2: Problem
Uneven household heating presents home owners with some of the following issues:
  Uncomfortable Temperatures
    Upper rooms are warmer
    Lower rooms are colder
  Wasting money by heating or cooling rooms that don’t require it
  Wasting money by over heating/cooling certain parts of the house
https://www.shanklinheatingandcooling.com/wp-content/uploads/ homes-that-need-better-tempature-control.jpg

## Slide 3: What’s Already Available?
Samsung Smart Things
  Arrival Sensor, Pipe Leak Detection,
  Window/Door Sensor
1 Thermostat Connected To 1 Damper
  Not typically connected to the internet
  Typically Not In Residential Houses
http://ksassets.timeincuk.net/wp/uploads/sites /54/2015/09/samsung-smartthings-9.jpg

## Slide 4: Solution - Overview
1 Raspberry Pi to monitor temperature
  1 Wire temperature sensor
1 Raspberry Pi to control damper relay
  Can be connected to any GPIO
Samsung Smart Things Hub
  Smart App

## Slide 5: Solution – Accessing / Controlling IO
Webiopi
  Uses Js.Node to open webserver on Raspberry Pi’s IP address on a specific port
  Webserver provides access to the Raspberry Pi’s: GPIO, SPI, IIC, UART, 1 Wire

## Slide 6: Solution – Integration & Automation
Samsung Smart Things
  Hub for smart devices
  Online open development platform
  Smart Apps (Used HTTP request but IFFF was also available)

## Slide 7: Solution – Scalability & Future Improvements
Scalability
  It can be scaled in as many sensor/relay pairs as devices that can connect to the wifi network
  Having many Raspberry Pis with unique Ips can be confusing
Future Improvement
  Raspberry Pi board wouldn’t be used
  Better interface allowing user to connect and setup temp/relay pi controllers
  LEDS to show device status locally such as no internet connection

## Slide 8: Thank You
Questions?